## MK_lot1
MOKHOTLONG
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Mphokojoane | Bloodberg | Spring Re catchment | no | 1
|  | Donga Crossing 40 mm | no | 1
|  | Stonewall | m | 30
|  | pipelaying 25mm HDPE | m | 12
SUB-TOTAL
Senqebethu | Moshemong | pipelaying 25mm HDPE | m | 250
|  | stonewall | m | 150
|  | Exacavation 40 cm | m | 100
|  | Backfilling 40 cm | m | 100
SUB-TOTAL
Mphokojoane | Phahamenng | Donga Crossing 40 mm | m | 5
|  | pipelaying 25mm HDPE | m | 13
SUB-TOTAL
| Kanana | Donga Crossing 40 mm | no | 1
|  | Pipelaying 25mm HDPE | m | 15
SUB-TOTAL
Senqebethu | Mechalleng | Gabions 2x1x1 | no | 6
SUB-TOTAL
| Khutlo peli | Donga Crossing 40 mm | no | 1
|  | Pipelaying 25mm HDPE | m | 9
SUB-TOTAL
| Linotsing | Donga Crossing 40 mm | no | 1
|  | pipelaying 25mm HDPE | m | 113
|  | Stonewall | m | 150
SUB-TOTAL
Mphokojoane | Ha Ramoruti | Donga Crossing 40 mm | no | 1
|  | washout 25 | no | 1
|  | pipelaying 25mm HDPE | m | 25
|  | Stonewall | m | 35
SUB-TOTAL
| Makalong | Spring catchment | no | 1
|  | pipelaying 50mm GI | m | 12
|  | Gabions 2x1x1 | no | 4
SUB-TOTAL
Seate | Ra 'Meleke | Donga Crossing | no | 1
|  | Spring ReCatchment | no | 1
|  | pipelaying | m | 6
|  | 25mm HDPE12 pipelaying | m | 253
|  | Excavation trench (Soil) 60 cm | m | 170
|  | Backfilling trench 60 cm | m | 170
|  | Stonewall | m | 83
SUB-TOTAL
| Mafoloaneng | Tank + Tap | no | 1
|  | 25mm HDPE 12pipelaying | m | 15
|  | Gabions 2x1x1 | no | 3
SUB-TOTAL
Menoaneng | Malakabeng | Spring recatchment | no | 1
|  | pipelaying Gi 50mm | m | 6
|  | 25mm HDPE 12pipelaying | m | 325
|  | Excavation trench (Soil) 60 cm | m | 193
|  | Backfilling trench 60 cm | m | 192
|  | stonewall | m | 132
|  | donga crossing 50mm | no | 1
SUB-TOTAL
Seate | Sebera | Spriing recatchement | no | 1
|  | Donga Crossing 40 mm | no | 1
|  | pipelaying 50mm GI | m | 9
SUB-TOTAL
| Mapholaneng | Donga Crossing 40 mm | no | 2
|  | Pipelaying 25 mm | m | 85
|  | stonewall | no | 85
SUB-TOTAL
Mphokojoane | Letjama Primary School | Stonewall | m | 30
|  | pipelaying 25mm HDPE 12 | m | 135
|  | Excavation trench (Soil) 60 cm | m | 95
|  | Backfilling trench 60 cm | m | 95
SUB-TOTAL
| Kanana Primary Schools | pipelaying 25mm HDPE 12 | m | 30
|  | stonewall | m | 120
|  | Excavation trench (Soil) 60 cm | m | 20
|  | Backfilling trench 60 cm | m | 15
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | Total Contract Amount |  |  |  | 0

## BB_lot 2
BOTHA BOTHE
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Likila | Mathebe | Pipelaying 40 mm HDPE | m | 159
|  | Excavation trench (Soil) 40 cm | m | 100
|  | Backfilling trench over stonewall 20 cm | m | 100
|  | Stone wall (40cm wide x 20 cm high) | m | 159
|  | Concrete for ramp or cable protection | m | 1
|  | Gabion work 2x1x1m3 | no | 1
|  | Gabion work 1x1x0.5 m3 | no | 1
|  | Donga Crossing A 65 mm | no | 1
SUB-TOTAL
| Paballong | Washout with Plug 25 mm | no | 1
|  | Pipelaying 25 mm HDPE | m | 417
|  | Excavation trench (Soil) 100 cm | m | 67
|  | Excavation trench (Soil) 60 cm | m | 202
|  | Excavation trench (Soil) 40 cm | m | 98
|  | Backfilling trench 100 cm | m | 67
|  | Backfilling trench 60 cm | m | 202
|  | Backfilling trench over stonewall 20 cm | m | 98
|  | Scourchecks | no | 23
|  | Stone wall (40cm wide x 20 cm high) | m | 166
SUB-TOTAL
| Ranakeli | Pipelaying 40 mm HDPE | m | 653
|  | Pipelaying 32 mm HDPE | m | 122
|  | Excavation trench (Soil) 60 cm | m | 335
|  | Excavation trench (Soil) 40 cm | m | 253
|  | Backfilling trench 60 cm | m | 335
|  | Backfilling trench over stonewall 20 cm | m | 253
|  | Stone wall (40cm wide x 20 cm high) | m | 440
|  | Concrete for ramp or cable protection | m | 1
|  | Donga Crossing A 50 mm | no | 1
|  | Donga Crossing A 65 mm | no | 1
SUB-TOTAL
Likila | Tumane | Pipelaying 50 mm GI | m | 101
|  | Pipelaying 50 mm HDPE | m | 171
|  | Excavation trench (Soil) 60 cm | m | 121
|  | Backfilling trench 60 cm | m | 121
|  | Scourchecks | no | 15
|  | Stone wall (40cm wide x 20 cm high) | m | 151
|  | Donga Crossing A 80mm | no | 1
SUB-TOTAL
Likila | Pataka | Siltbox 300 l | no | 1
|  | Valve Chamber 60x45cm | no | 1
|  | Spring Re-Catchment | no | 1
|  | Pipelaying 50 mm GI | m | 24
|  | Pipelaying 25 mm HDPE | m | 639.6
|  | Excavation trench (Soil) 100 cm | m | 100
|  | Excavation trench (Soil) 60 cm | m | 300
|  | Excavation trench (Soil) 40 cm | m | 100
|  | Backfilling trench 100 cm | m | 100
|  | Backfilling trench 60 cm | m | 300
|  | Backfilling trench over stonewall 20 cm | m | 100
|  | Scourchecks | no | 36
|  | Stone wall (40cm wide x 20 cm high) | m | 264
SUB-TOTAL
#REF! | Photong | Siltbox 750 l | no | 1
|  | Spring Catchment | no | 3
|  | Pipelaying 40 mm GI | m | 120
|  | Pipelaying 40 mm HDPE | m | 472
|  | Pipelaying 32 mm HDPE | m | 322
|  | Excavation trench (Soil) 60 cm | m | 375
|  | Excavation trench (Soil) 60 cm | m | 376
|  | Backfilling trench 40 vm | m | 375
|  | Backfilling trench over stonewall 20 cm | m | 376
|  | Stone wall (40cm wide x 20 cm high) | m | 539
|  | Concrete for ramp or cable protection | m | 1
|  | Gabion work 2x1x1m3 | no | 1
|  | Gabion work 1x1x0.5 m3 | no | 1
|  | Donga Crossing A 50mm | no | 1
SUB-TOTAL
Likila | Thaba Boqele | Pipelaying 40 mm GI | m | 81
|  | Pipelaying 40 mm HDPE | m | 692
|  | Pipelaying 32 mm HDPE | m | 149
|  | Pipelaying 25 mm HDPE | m | 516
|  | Excavation trench (Soil) 100 cm | m | 116
|  | Excavation trench (Soil) 60 cm | m | 642
|  | Excavation trench (Soil) 40 cm | m | 300
|  | Backfilling trench 100 cm | m | 116
|  | Backfilling trench 60 cm | m | 642
|  | Backfilling trench over stonewall 20 cm | m | 300
|  | Scourchecks | no | 36
|  | Stone wall (40cm wide x 20 cm high) | m | 580
SUB-TOTAL
| Mabeleteng | Pipelaying 40 mm GI | m | 20
|  | Pipelaying 25 mm HDPE | m | 1102
|  | Excavation trench (Soil) 100 cm | m | 102
|  | Excavation trench (Soil) 60 cm | m | 522
|  | Excavation trench (Soil) 40 cm | m | 200
|  | Backfilling trench 100 cm | m | 102
|  | Backfilling trench 60 cm | m | 522
|  | Backfilling trench over stonewall 20 cm | m | 200
|  | Scourchecks | no | 36
|  | Stone wall (40cm wide x 20 cm high) | m | 398
SUB-TOTAL
| Makeneng | Washout with Plug 50 mm | no | 1
|  | Washout with Plug 32 mm | no | 1
|  | Washout with Plug 25 mm | no | 1
|  | Air-release with plug 50 mm | no | 1
|  | Spring Catchment | no | 2
|  | Pipelaying 50 mm GI | m | 49
|  | Pipelaying 50 mm HDPE | m | 614
|  | Pipelaying 40 mm HDPE | m | 663
|  | Pipelaying 32 mm HDPE | m | 694
|  | Excavation trench (Soil) 100 cm | m | 114
|  | Excavation trench (Soil) 60 cm | m | 1057
|  | Excavation trench (Soil) 40 cm | m | 457
|  | Backfilling trench 100 cm | m | 114
|  | Backfilling trench 60 cm | m | 1057
|  | Backfilling trench over stonewall 20 cm | m | 457
|  | Scourchecks | no | 36
|  | Stone wall (40cm wide x 20 cm high) | m | 849
|  | Concrete for ramp or cable protection 20x40 cm | m | 1
SUB-TOTAL
| Ha Mots'ehi | Siltbox 300 l | no | 1
|  | Valve Chamber 60x45cm | no | 1
|  | Washout with Plug 25 mm | no | 1
|  | Air-release with plug 32 mm | no | 1
|  | Spring Catchment | no | 1
|  | Pipelaying | m | 15
|  | Pipelaying | m | 507
|  | Excavation trench (Soil) 100 cm | m | 64
|  | Excavation trench (Soil) 60 cm | m | 200
|  | Excavation trench (Soil) 40 cm | m | 160
|  | Backfilling trench 100 cm | m | 64
|  | Backfilling trench 60 cm | m | 200
|  | Backfilling trench over stonewall 20 cm | m | 160
|  | Scourchecks | no | 25
|  | Stone wall (40cm wide x 20 cm high) | m | 258
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15 % |  |  |  | 0
|  | TOTAL Contract Award |  |  |  | 0

## BB_Lot 3
BOTHA BOTHE
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Urban | Ha Mopeli Moreneng | Siltbox( Reroof) 300 l | no | 1
|  | Storage Tank (Replaster) 10 m3 | no | 1
|  | Pipelaying 40 mm GI | m | 10
|  | Pipelaying 25 mm HDPE | m | 233
|  | Excavation trench (Soil) 60 cm | m | 28
|  | Backfilling trench 40 cm | m | 28
|  | Stone wall (40cm wide x 20 cm high) | m | 215
|  | Pipe sleeve 40 mm | m | 6
|  | Donga Crossing 50 mm | no | 1
|  | Supply and Install Gatevalves 20 mm | no | 3
SUB-TOTAL
Nqoe | Sentelina | Pipelaying 32 mm HDPE | m | 122
|  | Excavation trench (Soil) 60 cm | m | 82
|  | Excavation trench (Soil) 40 cm | m | 40
|  | Backfilling trench 60 cm | m | 82
|  | Backfilling trench over stonewall 20 cm | m | 40
|  | Stone wall (40cm wide x 20 cm high) | m | 40
|  | Concrete for ramp or cable protection | m | 1
|  | Donga Crossing 80mm | no | 1
SUB-TOTAL
Tsa Le moleka | Ha Leboea | Pipelaying 32 mm HDPE | m | 233
|  | Excavation trench (Soil) 60 cm | m | 150
|  | Excavation trench (Soil) 40 cm | m | 50
|  | Backfilling trench 60 cm | m | 150
|  | Backfilling trench over stonewall 20 cm | m | 50
|  | Stone wall (40cm wide x 20 cm high) | m | 83
|  | Concrete for ramp or cable protection | m | 1
|  | Gabion work 2x1x1m3 | no | 1
|  | Gabion work 1x1x0.5 m3 | no | 1
|  | Donga Crossing A 50mm | no | 1
SUB-TOTAL
Tsa Le moleka | Lishobana | Pipelaying 25 mm HDPE | m | 369
|  | Excavation trench (Soil) 60 cm | m | 150
|  | Excavation trench (Soil) 40 cm | m | 150
|  | Backfilling trench 60 cm | m | 150
|  | Backfilling trench over stonewall 20 cm | m | 150
|  | Scourchecks | no | 15
|  | Stone wall (40cm wide x 20 cm high) | m | 219
SUB-TOTAL
| Ha Makuini | Pipelaying 32 mm HDPE | m | 598
|  | Excavation trench (Soil) 100 cm | m | 250
|  | Excavation trench (Soil) 60 cm | m | 248
|  | Excavation trench (Soil) 40 cm | m | 50
|  | Backfilling trench 100 cm | m | 250
|  | Backfilling trench 60 cm | m | 248
|  | Backfilling trench over stonewall 20 cm | m | 50
|  | Scourchecks | no | 15
|  | Stone wall (40cm wide x 20 cm high) | m | 100
SUB-TOTAL
| Manamela | Pipelaying 40mm HDPE | m | 192
|  | Pipelaying 32 mm HDPE | m | 154
|  | Pipelaying 25 mm HDPE | m | 706
|  | Excavation trench (Soil) 60 cm | m | 545
|  | Excavation trench (Soil) 60 cm | m | 347
|  | Backfilling trench 40 cm | m | 545
|  | Backfilling trench over stonewall 20 cm | m | 347
|  | Scourchecks | no | 33
|  | Stone wall (40cm wide x 20 cm high) | m | 507
|  | Concrete for ramp or cable protection | m | 1
|  | Pipe sleeve for track crossing 40mm | m | 1
|  | Pipe sleeve for track crossing 40mm | m | 1
|  | Pipe sleeve for track crossing 40mm | m | 1
|  | Pipe sleeve for track crossing 40mm | m | 1
|  | Pipe sleeve for track crossing 40mm | m | 1
|  | Gabion work 2x1x1m3 | no | 1
|  | Gabion work 1x1x0.5 m3 | no | 1
|  | Donga Crossing A 50mm | no | 1
SUB-TOTAL
Ts'a le moleka | Tamaseka | Pipelaying 32 mm HDPE | m | 222
|  | Excavation trench (Soil) 60 cm | m | 50
|  | Excavation trench (Soil) 40 cm | m | 50
|  | Backfilling trench 60 cm | m | 50
|  | Backfilling trench over stonewall 20 cm | m | 50
|  | Stone wall (40cm wide x 20 cm high) | m | 172
|  | connection of Overflow to 10m3 tank | no | 1
SUB-TOTAL
Ngoajane | Mohataneng | Pipelaying 32mm HDPE12 | m | 250
|  | Excavation trench (Soil) 100 cm | m | 50
|  | Excavation trench (Soil) 60 cm | m | 100
|  | Excavation trench (Soil) 40 cm | m | 50
|  | Backfilling trench 100 cm | m | 50
|  | Backfilling trench 60 cm | m | 100
|  | Backfilling trench 40 cm | m | 50
|  | Stone wall (40cm wide x 20 cm high) | m | 100
|  | Donga Crossing 80mm | no | 1
SUB-TOTAL
Nqoe | Boithero Hlobong | Air-release with plug (32mm) | no | 1
|  | Pipelaying 40mm HDPE | m | 18
|  | Pipelaying 32mm HDPE12 | m | 30
|  | Donga Crossing 65mm | no | 1
|  | Cast Concrete ramp | no | 30
SUB-TOTAL
Ngoajane | Ha Makai | Washout with Plug 32mm | no | 1
|  | Pipelaying 32mm HDPE12 | m | 20
|  | Pipelaying 25mm HDPE12 | m | 40
|  | Excavation trench (Soil) 60cm | m | 60
|  | Backfilling trench 60 cm | m | 60
|  | Donga Crossing 50mm | no | 3
SUB-TOTAL
Ngoajane | Ha Potjo | Siltbox( Replaster) 300l | no | 2
|  | Washout with Plug 32mm | no | 1
|  | Pipelaying 32mm HDPE12 | m | 30
|  | Pipelaying 25mm HDPE12 | m | 20
|  | Excavation trench (Soil) 60cm | m | 50
|  | Backfilling trench 60 cm | m | 50
SUB-TOTAL
Ngoajane | Ha Jane | Siltbox 300l | no | 1
|  | Washout with Plug 32mm | no | 1
|  | Spring Catchment | no | 1
|  | Pipelaying 25mm HDPE12 | m | 60
|  | Excavation trench (Soil) 60cm | m | 60
|  | Backfilling trench 60cm | m | 60
SUB-TOTAL
Nqoe | Motete Health Centre | Siltbox 300 l | no | 1
|  | Spring Catchment | no | 1
|  | Pipelaying 32mm HDPE | m | 60
|  | Excavation trench (Soil) 60cm | m | 60
|  | Backfilling trench 60cm | m | 60
SUB-TOTAL
Nqoe | Motahane | Pipelaying 32mm HDPE12 | m | 60
|  | Stone wall (40cm wide x 20 cm high) | m | 60
|  | Donga Crossing 50mm | no | 1
SUB-TOTAL
Nqoe | St. Elina | Siltbox(Reroof) 300l | no | 1
|  | Spring Catchment | no | 1
|  | Pipelaying 32mm HDPE12 | m | 20
|  | Excavation trench (Soil) 60cm | m | 10
|  | Backfilling trench 60cm | m | 10
|  | Stone wall (40cm wide x 20 cm high) | m | 10
|  | Donga Crossing 50mm | no | 1
SUB-TOTAL
Nqoe | Nchikhoaneng | Waterpoint(Repairs) 1000l | no | 1
|  | Spring Catchment | no | 1
|  | Pipelaying 40mm GI | m | 18
|  | Excavation trench (Soil) 60cm | m | 18
|  | Backfilling trench 60cm | m | 18
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | TOTAL Contract Amount |  |  |  | 0

## LR_Lot 4
LERIBE
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Ramapepe | Ha Kalaele | Spring re-catchment | no | 2
|  | Pipelaying 40mm GI | m | 24
|  | 25mmHDPE12 | m | 200
|  | Excavation trench (Soil) 60 cm | m | 80
|  | Backfilling trench 60 cm | m | 80
|  | Stonewall | m | 132
|  | 40mm Pipesleeve | m | 24
|  | 50mm Donga Crossing x2 | no | 2
SUB-TOTAL
Matsoku | Khubetsoana | Spring re-catchment | no | 1
SUB-TOTAL
| Ha Pae-pae | Replaster 300l Siltbox | no | 1
|  | 3000L Waterpoint | no | 1
|  | Collection chamber | no | 1
|  | Construct valve chamber 45x60cm | no | 1
|  | Spring catchment | no | 1
|  | Scourcheck | no | 10
|  | Stonewall | m | 30
|  | Gabion 2x1x1m | no | 4
|  | Pipelaying x 40mm GI | m | 30
|  | Excavation trench (Soil) 60 cm | m | 30
|  | Backfilling trench 60 cm | m | 30
|  | 65mm xdonga crossing | no | 3
SUB-TOTAL
| Ha Konsetabole | Replasster 3000L waterpoints | no | 2
|  | Sprinr re-catchment | no | 1
SUB-TOTAL
Bolahla | Pitseng Mega Project | Removal of Sand and rocks in the weir dam at Mphosong Catchment Intake- Khorong ea Makhoa | no | 1
SUB-TOTAL
Manka | Ha Rantuba | Spring re-catchment | no | 2
|  | Stonewall | m | 15
|  | Donga crossing x 65mm | no | 1
|  | Gaboin work 2x1x1m | no | 24
SUB-TOTAL
Hlotse Urban | Tsikoane-Leqhutsung | Replaster 80M3 Storage Tank (40m3 x2) | no | 1
|  | Construct valve chamber 60x95 cm | no | 1
|  | 63mm HDPE12 Pipelaying | m | 794
|  | Excavation trench (Soil) 60 cm | m | 528
|  | Backfilling trench 60 cm | m | 528
|  | Stonewall | m | 340
|  | 74 x scourchecks | no | 74
|  | Gabion work 2x1x0.5 m | no | 8
SUB-TOTAL
Maisa-Phoka | Kuenaneng Ha Mokotjo | Spring catchment | no | 1
|  | Construct waterpoint 3000l | no | 1
SUB-TOTAL
| Nkoeng Matlameng | Siltbox 300L | no | 1
Bolahla |  | Siltbox 300L | no | 1
|  | Replater Storage Tank 10m3 | no | 1
|  | Washout with Plug 32mm | no | 1
|  | Washout with Plug 32mm | no | 1
|  | Washout with Plug 32mm | no | 1
|  | Air-release with plug 32mm | no | 1
|  | Air-release with plug 32mm | no | 1
|  | Spring Catchment | no | 1
|  | Pipelaying 40mm GI | m | 1
|  | Pipelaying 40mm HDPE12 | m | 1
|  | Excavation trench (Soil) 60cm | m | 1
|  | Backfilling trench 60cm | m | 1
|  | Scourchecks | no | 1
|  | Stone wall (40cm wide x 20 cm high) | m | 1
|  | Gabion work 2X1x1 m3 | no | 1
|  | Gabion work 2X10.5 m3 | no | 1
|  | Donga crossing x 65mm | no | 1
|  | Training of Water Minders | no | 1
SUB-TOTAL
| Ha Ntasi | Valve Chamber | no | 1
Ramapepe |  | Storage Tank | no | 1
|  | Standpipe (with washout) | no | 1
|  | Spring Catchment | no | 1
|  | Pipelaying | m | 18
|  | Pipelaying | m | 6
|  | Excavation trench (Soil) 60 cm | m | 6
|  | Backfilling trench 60 cm | m | 6
|  | Stone wall (40cm wide x 20 cm high) | m | 18
|  | Gabion work 2x1x0.5 m | no | 9
|  | Training of Water Minders | no | 1
SUB- TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15 % |  |  |  | 0
|  | Total Contract Amount |  |  |  | 0

## BR_Lot 5
BEREA
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Makeoane | Nokong | SP 3A-45/MS 4000 | no | 1
|  | Splicing Kit | no | 2
|  | 4 core Submersible cable PT10 * 4OR | no | 80
|  | Control panel with Black Bocs DOL upto 5.5kW | m | 1
|  | Timer - 7day/24hours | no | 1
|  | Safety Rope 7mm Polyprophyline | m | 80
|  | 3 Phase Circuit breakers | no | 1
|  | Earth Spike | no | 1
|  | Sensor probes | no | 1
|  | Excavation 60cm * 40cm | m | 80
|  | Backfilling 60cm * 40cm | m | 80
|  | Pipelaying (including materials) 50mm HDPE16 | m | 80
|  | Transport rate per km return from district office to site (1 return trips) | 57km*1*2 | 114
|  | Installation of new submersible pump | no | 1
|  | Repair of BH Chamber | no | 1
SUB-TOTAL
Senekane | Ha Ranthiba | SP 3A-45/MS 4000 | no | 1
|  | Splicing Kit | no | 2
|  | 4 core Submersible cable PT10 * 4OR | no | 80
|  | Control panel with Black Bocs DOL upto 5.5kW | m | 1
|  | Timer - 7day/24hours | no | 1
|  | Safety Rope 7mm Polyprophyline | m | 80
|  | 3 Phase Circuit breakers | no | 1
|  | Earth Spike | no | 1
|  | Sensor probes | no | 1
|  | Valve Chamber for pumping system | no | 1
|  | Palisade Fencing | no | 1
|  | Installation of new submersible pump | no | 1
|  | Transport rate per km return from district office to site (1 return trips) | 34km*1*2 | 68
SUB-TOTAL
Kueneng | Ha Ralekeke | SP 3A-45/MS 4000 | no | 1
|  | Splicing Kit | no | 2
|  | 4 core Submersible cable PT10 * 4OR | no | 6
|  | Control panel with Black Bocs DOL upto 5.5kW | m | 1
|  | Timer - 7day/24hours | no | 1
|  | 3 Phase Circuit breakers | no | 1
|  | Earth Spike | no | 1
|  | Sensor probes | no | 1
|  | Valve Chamber for pumping system | no | 1
|  | Installation of new submersible pump | no | 1
|  | Replastering 15m3 Feed Tank | no | 1
|  | Palisade Fencing | no | 1
|  | Transport rate per km return from district office to site (1 return trips) | 40km*1*2 | 80
SUB-TOTAL
Senekane | Ha 'Matholoana | Construct stonewall for uPVC 110mm overflow pipe | m | 50
|  | Transport rate per km return from district office to site (1 return trips) | 42km*1*2 | 84
SUB-TOTAL
Kueneng | Ha Nteleki | Control panel with Black Bocs DOL upto 5.5kW | m | 1
|  | Timer - 7day/24hours | no | 1
|  | 3 Phase Circuit breakers | no | 1
|  | Earth Leakage | no | 1
|  | Transport rate per km return from district office to site (1 return trips) | 59km*1*2 | 118
SUB-TOTAL
| Kolojane Ha Seisa | Control panel with Black Bocs DOL upto 5.5kW | m | 1
|  | Timer - 7day/24hours | no | 1
|  | 3 Phase Circuit breakers | no | 1
|  | Earth Spike | no | 1
|  | Sensor probes | no | 1
|  | Transport rate per km return from district office to site (1 return trips) | 62km*1*2 | 124
SUB-TOTAL
Phuthiatsana | Ha Mokhathi | Control panel with Black Bocs DOL upto 5.5kW | m | 1
|  | Timer - 7day/24hours | no | 1
|  | 3 Phase Circuit breakers | no | 1
|  | Earth Spike | no | 1
|  | Sensor probes | no | 1
|  | Transport rate per km return from district office to site (1 return trips) | 23km*1*2 | 46
SUB-TOTAL
Senekane | Lekokoaneng/ Lits'iling | SP 3A-45/MS 4000 | no | 1
|  | Splicing Kit | no | 2
|  | 4 core Submersible cable PT10 * 4OR | no | 6
|  | Control panel with Black Bocs DOL upto 5.5kW | m | 1
|  | Timer - 7day/24hours | no | 1
|  | 3 Phase Circuit breakers | no | 1
|  | Earth Spike | no | 1
|  | Sensor probes | no | 1
|  | Installation of new submersible pump | no | 1
|  | Transport rate per km return from district office to site (1 return trips) | 15km*1*2 | 30
SUB-TOTAL
Berea | Ha Sole | Ground Exploration and Survey | no | 1
|  | Drilling of Borehole 165 mm Diameter (HCB) | m | 80
|  | Supply and Installation of Steel Casing | m | 6
|  | Supply and Installation of Slotted uPVC Casing Class 6 | m | 78
|  | 48 Hrs Pump Tests | no | 1
|  | Mobilisation and Demobilisation |  | 1
|  | Valve Chamber Pumping Systems | no | 1
|  | Palisade Fence for Pump installation | no | 1
|  | Pipelaying | m | 78
|  | Excavation trench (Soil) 60 cm | m | 100
|  | Backfilling trench 60 cm | m | 100
|  | Grundfos Pump SQF 2.5 -2N | no | 1
|  | Control Box IO 100 | no | 1
|  | Safety Rope 7mm Polyprophyline | m | 78
|  | Splicing Kit | no | 2
|  | Ground Cable from Array to Pump [10mm2 2core] | m | 100
|  | 3 core - 6 mm2 submersible cable | m | 78
|  | Excavation trench (Soil) 60 cm | m | 100
|  | Backfilling trench 60 cm | m | 100
SUB-TOTAL
Berea | Mokhethoaneng | SP 3A-18/MS 402 | no | 1
|  | Splicing Kit | no | 2
|  | 4 core Submersible cable PT10 * 4OR | no | 6
|  | Control panel with Black Bocs DOL upto 5.5kW | m | 1
|  | Timer - 7day/24hours | no | 1
|  | 3 Phase Circuit breakers | no | 1
|  | Earth Spike | no | 1
|  | Sensor probes | no | 1
|  | Installation of new submersible pump | no | 1
|  | Transport rate per km return from district office to site (1 return trips) | 29km*1*2 | 58
SUB-TOTAL
Berea | Ha Makebe | SQF 1.2.3N/MSF | no | 1
|  | IO 50 Switchbox | no | 1
|  | Splicing Kit | no | 1
|  | Installation of new submersible pump | m | 1
|  | Repair of Electrical motor - On site | no | 1
|  | Rewiring of solar panels | no | 20
|  | Earth Spike | no | 1
|  | Sensor probes | no | 1
|  | Installation of new submersible pump | no | 1
|  | Transport rate per km return from district office to site (1 return trips) | 15km*1*2 | 30
SUB-TOTAL
Total
Contingency @ 10%
VAT @ 15%
GRAND-TOTAL

## BR_Lot 6
BEREA
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
|  | 60cm * 40cm Excavation | m | 700
|  | 32mm HDPE Pipelaying | m | 1000
Tebe tebe | Ha Makhula | 60cm * 40cm Backfilling | m | 700
|  | 30cm Stonewall | m | 300
SUB-TOTAL
| Ha Mokhameleli/Ha Lejone | 60cm * 40cm Excavation | m | 1200
|  | 40mm HDPE Pipelaying | m | 1200
|  | 60cm * 40cm Backfilling | m | 1200
SUB-TOTAL
| Ha Nkhahle | Construction of Storage Tank(15m3) | m3 | 1
SUB-TOTAL
| Ha Leponesa | 60cm * 40cm Excavation | m | 200
|  | 25mm HDPE Pipelaying | m | 300
|  | 60cm * 40cm Backfilling | m | 200
|  | 30cm Stonewall | m | 100
SUB-TOTAL
| Masooeng | 60cm * 40cm Excavation | m | 100
|  | 40mm HDPE Pipelaying | m | 150
|  | 60cm * 40cm Backfilling | m | 100
|  | 30cm Stonewall | m | 50
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | TOTAL Contract Amount |  |  |  | 0

## MS_Lot 7
MASERU
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Qiloane | Ha Rafutho | Re-place leaking valve | no | 1
| Lihaseng | Re-place manhole cover | no | 1
SUB-TOTAL
Likolobeng | Ngope-Tsoeu | Spring re-catchment | no | 1
|  | 2X1X1m Gabions | no | 15
SUB-TOTAL
| Thabana Li 'Mele | 25mm HDPE12 | m | 1500
|  | Excavation and backfilling 60 cm (Soil) | m | 1000
|  | Stonewall | m | 500
|  | Construction of 2m3 | no | 1
SUB-TOTAL
| Ha Thaba-Bosiu | Donga crossing ( 80mm dia.) 6m long | no | 1
SUB-TOTAL
| Ha Lempe | Donga crossing ( 65mm dia.) 6m long | no | 1
SUB-TOTAL
| Ha Rantelali | Supply & Install of pump -SQF 1.2-2 | no | 1
SUB-TOTAL
Manonyane | Popa Ha Motanyane | 3m X 50mm Suspended donga crossing C/W 25mm HDPE12 | no | 1
|  | 2m3 Repair leaking tank at Meshaka | no | 1
|  | 25mm Pipecut C/W 2 Couplings | m | 1
SUB-TOTAL
| Roma Litenteng Ha Tsunyana | Suspended river crossing (12m x 63mm HDPE12 with 100mm Sleeve and 2 Pillars plus sling) | no | 1
|  | 100mm Pipesleeve | m | 6
SUB-TOTAL
| Tholang | 12m x 50mm Donga crossing C/W 25mm HDPE12 | no | 1
SUB-TOTAL
| Ha Matima | Spring re-catchment | no | 1
SUB-TOTAL
| Ha Makafane | 50mm Pipesleeve C/W 25mm HDPE12 | m | 24
|  | 10m3 Plastic tank on 1m High platform incl. Connections to existing system | no | 1
|  | New standpipe (with washout) | no | 3
|  | 600m HDPE12 25mm (incl. Excation and backfilling) | m | 600
SUB-TOTAL
| Mokhokhong Ha Filipi | 12m x 50mm DONGA CROSSING C/W 25mm HDPE12 | no | 1
|  | NEW STANDPIPE (WITH WASHOUT) | no | 1
|  | HDPE12 25mm (incl. EXCVATION & BACKFILLING) | m | 20
SUB-TOTAL
| Ha Elia | Spring Catchment (demolition& build) | no | 1
|  | 2m long x 1m high retaining Wall | no | 1
|  | 2X1X1m Gabions | no | 4
SUB-TOTAL
Mohlakeng | Makoaeleng | Construction of Donga crossing- 80mm dia. 10m long | no | 1
|  | Construction of Standpipe | no | 1
SUB-TOTAL
| Ha Phohleli | Construction of donga crossing 50mm | no | 1
|  | Construction of Standpipe | no | 1
SUB-TOTAL
Mazenod | Ha Thaabe | Spring re-catchment | no | 1
SUB-TOTAL
| Ha Motheo Phororong | Spring re-catchment | no | 1
|  | Constuction of 500L Siltbox | no | 1
|  | 10m3 Storage Tank | no | 1
|  | 25mm HDPE pipeline | m | 200
|  | 50m excavation and backfilling 60 cm (Soil) | m | 50
|  | 150m stonewall | m | 150
SUB-TOTAL
| Tlhakoaneng | Spring re-catchment | no | 1
SUB-TOTAL
| Ntsokotsane | Fix cut-off pipe | no | 1
SUB-TOTAL
Lilala | Bolometsa/Mahanyatsa | Replaster Storage tank 15m3 | no | 1
|  | Replaster Storage tank 4m3 | no | 1
SUB-TOTAL
| Ha Matekane, Ha Moshesha and Ha Ntsohi | Replaster Storage tank 40m3 | no | 1
SUB-TOTAL
| Ha Taemane, Makae, Ha Phakoana and Rantulela | Excavation trench (Soil) 60 cm | no | 3000
|  | Backfilling trench 60 cm | no | 2600
|  | Stonewall construction | no | 300
SUB-TOTAL
Makhoarane | Ha Taka | Construction of donga crossing 50mm | no | 1
|  | 40mm HDPE12 | m | 45
|  | 80mm Sleeve & 6X2m pillars) | m | 6
SUB-TOTAL
| Ha Panya | Construction of donga crossing | no | 1
|  | 40mm HDPE 12 | m | 60
|  | 80mm sleeve and 10X2m pillars) | m | 6
|  | Replace 32mm pipeline | m | 46
|  | Donga crossing with indicators 50mm | no | 1
SUB-TOTAL
Makhoalipana | Ha Mokhathi | 25mm HDPE12 | m | 500
|  | Excavation trench (Soil) 60 cm | m | 400
|  | Backfilling trench 60 cm | m | 400
|  | 100m stonewall | m | 100
SUB-TOTAL
| Ha Nyakane | 25mm HDPE12 | m | 500
|  | Excavation trench (Soil) 60 cm | m | 400
|  | Backfilling trench 60 cm | m | 400
|  | Stonewall | m | 100
SUB-TOTAL
Semonkong Urban | Ha Moahloli | 2m3 Repair leaking tank | no | 1
|  | 25mm HDPE12 | m | 100
|  | 280m X 32mm HDPE12 | m | 280
|  | Excavation trench (Soil) 60 cm | m | 250
|  | Backfilling trench 60 cm | m | 250
|  | Stonewall | m | 130
SUB-TOTAL
Ratau A-02 | Ha Motjoka (Ha Sechaba) | Replacement of pump ( SQF 2.5-2N) | no | 1
|  | Replace Control box IO 100 | no | 1
SUB-TOTAL
| Ha Mphukhe | Replace cylinder head | no | 1
|  | Replace rods 32mm | no | 2
|  | Replacement of 32mm columns with sockets | no | 15
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | Total Contract Amount |  |  |  | 0

## MS_Lot 8
MASERU
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
| Ha Motjoka (Ha `Mamaja) | Supply and installation of solar panels 100W Solar Panels | no | 8
SUB-TOTAL
| Nazareth (Ha 'Mapale) | Replacement of pump | no | 1
|  | Repair leaking tank 20m3 | no | 1
SUB-TOTAL
| Ha Mosoeu | Replacement of pump and accessories | no | 1
|  | Replace Control box | no | 1
SUB-TOTAL
| Ha Majoro | Replacement of pump | no | 1
SUB-TOTAL
| ha Matela | Replacement of solar panels, 100W | no | 12
SUB-TOTAL
| Ha Mpiti | Replacement of pump | no | 1
|  | Pipe Laying-GI 50mm | m | 50
|  | Excavation trench (Soil) 60 cm | m | 50
|  | Backfilling trench 60 cm | m | 50
SUB-TOTAL
| Ha Nqheku | Replacement of pump and accessories | no | 1
|  | Replace Control box | no | 1
SUB-TOTAL
| Ha Mpao | Repair leaking tank 10m3 | no | 1
|  | Pipe Laying-25mm diameter-HDPE | m | 200
|  | Excavation trench (Soil) 60 cm | m | 150
|  | Backfilling trench 60 cm | m | 150
|  | Stonewall | m | 50
SUB-TOTAL
| Ha Ralejoe | Handpump repair | no | 1
SUB-TOTAL
| Ha Ranye | Replacement of pump- 2.5-2 | no | 1
|  | Replacement of solar panels - 100 watts | no | 12
SUB-TOTAL
| Ha Masupha | Replace leaking tank 40M3 | no | 1
SUB-TOTAL
| Thota-Peli Ha Matjeke | Pump replacement | no | 1
|  | Replace control box | no | 1
|  | Replacement of solar panels | no | 5
SUB-TOTAL
| Ha Lesaoana | Replacement of solar panels, 100W | no | 12
|  | Pump replacement (2-5.2 | no | 1
|  | Replace control box-I0 100 | no | 1
SUB-TOTAL
| Ha Lethena | Replacement of solar panels, 100W (incl rewiring) | no | 12
SUB-TOTAL
| Ha Nkhema Thoteng | Spring Recatchment | no | 1
|  | Excavation trench (Soil) 60 cm | m | 400
|  | Backfilling trench 60 cm | m | 100
|  | Stonewall | m | 100
|  | Pipelaying, 25mm HDPE 12 | m | 500
SUB-TOTAL
| Ha Lekota | Demolition of tank- 10m^3 and Construction of 10m^3 | no | 1
|  | Spring Catchment | no | 1
|  | Silt box(500lt) | no | 1
|  | 25mm HDPE pipelaying | m | 1000
|  | Excavation trench (Soil) 60 cm | m | 800
|  | Backfilling trench 60 cm | m | 800
|  | Stonewall | m | 200
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | Total Contract Amount |  |  |  | 0

## MF_Lot 9
MAFETENG DISTRICT
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Lehlakaneng | Ha Monyake Kholokoe | Spring Catchment | no | 1
|  | 50mm GI Pipe | m | 8
|  | Stonewall | m | 155
SUB-TOTAL
| Tajane | Donga Crossing | no | 2
|  | pipelaying 50mm GI | m | 60
|  | Excavation trench (Soil) 60 cm | m | 60
|  | Backfilling trench 60 cm | m | 60
SUB-TOTAL
| Ha Ramanta | Pipelaying 40mm GI | m | 50
|  | Excavation trench (Soil) 60 cm | m | 50
|  | Backfilling trench 60 cm | m | 50
|  | Donga Crossing | no | 1
SUB-TOTAL
| Ha Monaheng | 32mm HDPE | m | 100
|  | Excavation trench (Soil) 60 cm | m | 100
|  | Backfilling trench 60 cm | m | 100
SUB-TOTAL
| Ha Bukana | Pipelaying 25mm HDPE | m | 250
|  | Excavation trench (Soil) 60 cm | m | 200
|  | Backfilling trench 60 cm | m | 200
|  | Stonewall | m | 50
|  | Scourchecks | no | 20
SUB-TOTAL
| Ha Thaka banna | Provide Pump SQF 2.5-2 | no | 1
|  | Lightining Arrestor | no | 1
SUB-TOTAL
| Ha Nkeo | 32mm HDPE | m | 200
|  | Excavation trench (Soil) 60 cm | m | 200
|  | Backfilling trench 60 cm | m | 200
|  | Donga Crossing | no | 1
SUB-TOTAL
| Ha Nthonyana | Donga Crossing | no | 1
|  | Pipelaying 40mm GI | m | 30
SUB-TOTAL
| Ha Liholo | Pipelaying 25mm HDPE | m | 80
|  | Excavation trench (Soil) 60 cm | m | 80
|  | Backfilling trench 60 cm | m | 80
SUB-TOTAL
| Ha Ntemane | Pipelaying 25mm HDPE | m | 185
|  | Stonewall | m | 185
SUB-TOTAL
| Mankhapane | Spring catchment | no | 1
|  | Pipelaying 40mm GI | m | 12
SUB-TOTAL
| Ha Mantitana | Pipelaying 32mm HDPE | m | 385
|  | Stonewall | m | 385
SUB-TOTAL
| Ha Lesaoana | Donga Crossing | no | 1
|  | Pipelaying 32mm HDPE | m | 412
|  | Excavation trench (Soil) 60 cm | m | 436
|  | Backfilling trench 60 cm | m | 436
|  | Pipelaying 40mm GI | m | 24
SUB-TOTAL
| Ha Siimane | Pipelaying 40mm HDPE | m | 80
|  | Pipelaying 25mm HDPE | m | 300
|  | Excavation trench (Soil) 60 cm | m | 380
|  | Backfilling trench 60 cm | m | 380
SUB-TOTAL
Tsana Talana | Ha Matsaba | Donga Crossing | no | 2
|  | Pipesleeve 50mm | m | 18
|  | Pipelayng 25mm HDPE | m | 350
|  | Excavation trench (Soil) 60 cm | m | 250
|  | Backfilling trench 60 cm | m | 250
|  | Stonewall | m | 100
SUB-TOTAL
| Raliemere | Handpump Head | no | 1
|  | Cylinder | no | 1
|  | 25mm Complete Columns | no | 8
|  | Rods | no | 8
|  | Top Rod | no | 1
|  | Footvalve | no | 1
SUB-TOTAL
| Ha Ramarothole | Pipelayng 25mm HDPE | m | 500
|  | Excavation trench (Soil) 60 cm | m | 350
|  | Backfilling trench 60 cm | m | 350
|  | Stonewall | m | 150
|  | Dongra Crossing 50mm | no | 1
SUB-TOTAL
| Ha Mahosi | Pipelayng 32mm HDPE | m | 300
|  | Excavation trench (Soil) 60 cm | m | 250
|  | Backfilling trench 60 cm | m | 250
|  | Stonewall | m | 50
SUB-TOTAL
Makoabating | Ha Khobotle (Ha keli, Majakaneng, Roulin H school, Mount Olivet P S & Mount Olivet Mission) | Spring Recatchment | no | 1
|  | 40mm GI Pipe | m | 250
|  | Excavation trench (Soil) 60 cm | m | 250
|  | Backfilling trench 60 cm | m | 250
|  | Dongra Crossing 50mm | no | 1
SUB-TOTAL
| Sehlabeng | 32mm HDPE | m | 250
|  | Excavation trench (Soil) 60 cm | m | 250
|  | Backfilling trench 60 cm | m | 250
|  | Reconstruction of Siltbox 500L | no | 1
SUB-TOTAL
| Khalimane | Stone wall | m | 123
|  | Provide pump 2.5-2 | no | 1
|  | switch box IO50 | no | 1
SUB-TOTAL
| Ha Leboto | GF 100S Chrystalline Module | no | 10
|  | Stonewall | m | 800
|  | Lightining Arrestor | no | 1
SUB-TOTAL
| Polateng | 2X1X1m Gabions | no | 8
|  | Spring Catchment | no | 1
|  | 50mm GI | m | 18
SUB-TOTAL
| Ha Raseboko | Donga Crossing 50mm | no | 1
|  | 40mm HDPE | m | 120
|  | Excavation trench (Soil) 60 cm | m | 120
|  | Backfilling trench 60 cm | m | 120
SUB-TOTAL
| Thabaneng Ha Ntsonyana | 40mm HDPE | m | 155
|  | 50mm Pipe Sleeve | m | 18
|  | Excavation trench (Soil) 60 cm | m | 155
|  | Backfilling trench 60 cm | m | 155
SUB-TOTAL
| Nokane | Pipelaying 40mm GI | m | 55
|  | Stonewall | m | 55
SUB-TOTAL
| Ha Sebaki | Spring catchment | no | 1
|  | Pipelaying 40mm GI | m | 80
|  | Pipelaying 32mm HDPE | m | 200
|  | Excavation trench (Soil) 60 cm | m | 280
|  | Backfilling trench 60 cm | m | 280
SUB-TOTAL
| Ha Mphaololi | Pipelaying 32mm HDPE | m | 120
|  | Pipelaying 25mm HDPE | m | 180
|  | Excavation trench (Soil) 60 cm | m | 300
|  | Backfilling trench 60 cm | m | 300
SUB-TOTAL
| Malumeng | Replace GI with HDPE 32mm | m | 500
|  | Excavation trench (Soil) 60 cm | m | 500
|  | Backfilling trench 60 cm | m | 500
SUB-TOTAL
| Thibella | Spring Catchment | no | 1
|  | Pipelaying 40mm GI | m | 18
|  | Pipelaying 25mm HDPE | m | 175
|  | Excavation trench (Soil) 60 cm | m | 193
|  | Backfilling trench 60 cm | m | 193
SUB-TOTAL
| Limapong | Spring Catchment | no | 1
|  | Pipelaying 40mm GI | m | 20
SUB-TOTAL
| Ha Sebili | Spring Recatchment | no | 2
SUB-TOTAL
| Ha Rats'oeu | Spring Catchment | no | 2
|  | 50mm GI Pipe | m | 18
|  | Pipelaying 32mm HDPE | m | 155
|  | Pipelayng 25mm HDPE | m | 300
|  | Excavation trench (Soil) 60 cm | m | 312
|  | Backfilling trench 60 cm | m | 312
|  | Stonewall | m | 155
SUB-TOTAL
| Ha Damane | Spring Catchment | no | 2
|  | pipelaying 40mm GI | m | 12
|  | Pipelaying 25mm HDPE | m | 300
|  | Excavation trench (Soil) 60 cm | m | 312
|  | Backfilling trench 60 cm | m | 312
SUB-TOTAL
| Tibeleng | Handpump Head | no | 1
|  | Cylinder | no | 1
|  | 25mm Complete Columns | no | 8
|  | Rods | no | 8
|  | Footvalve | no | 1
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | TOTAL CONTRACT AMOUNT |  |  |  | 0

## QN_Lot 10
QACHA'S NEK
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Nt'supe | Ha Ramokakatlela | Spring Catchment | no | 1
|  | Additional excavation | no | 2
|  | Pipelaying 65 mm GI | m | 9.5
|  | Excavation trench (Soil) 60 cm | m | 9.5
|  | Backfilling trench 60 cm | m | 9.5
SUB-TOTAL
| Waterfall | Siltbox | no | 1
|  | Standpipe (w/ washout) | no | 2
|  | Washout with Plug | no | 2
|  | Air-release with plug | no | 1
|  | Spring Catchment | no | 1
|  | Additional excavation | no | 20
|  | Pipelaying | m | 9
|  | Pipelaying | m | 250
|  | Pipelaying | m | 55
|  | Excavation trench (Soil) 60 cm | m | 254
|  | Backfilling trench 60 cm | m | 254
|  | Scourchecks | no | 8
|  | Stone wall (40cm wide x 20 cm high) | m | 60
|  | Gabion work | no | 4
|  | Gabion work | no | 2
|  | Donga Crossing A | no | 2
SUB-TOTAL
| Ha Nkofo | Pipelaying 25 mm HDPE 12 | m | 120
|  | Excavation trench (Soil) 60 cm | m | 75
|  | Backfilling trench 60 cm | m | 75
|  | Scourchecks | no | 5
|  | Stone wall (40cm wide x 20 cm high) | m | 45
|  | Gabion work 2 x 1 x 1 | no | 4
|  | Gabion work 2 x 1 x 0.5 | no | 1
|  | Donga Crossing A 40 mm | no | 2
SUB-TOTAL
| Ha Tomose | Washout with Plug 25mm | no | 1
|  | Air-release with plug 25mm | no | 1
|  | Spring Catchment | no | 1
|  | Additional excavation | no | 5
|  | Pipelaying 65mm GI | m | 11.5
|  | Pipelaying 25mm hdpe 12 | m | 160
|  | Excavation trench (Soil) 60cm | m | 131.5
|  | Backfilling trench 60cm | m | 131.5
|  | Scourchecks | no | 5
|  | Stone wall (40cm wide x 20 cm high) | m | 40
|  | Gabion work(2x1x1) | no | 3
|  | Gabion work(2x1x0.5) | no | 1
|  | Donga Crossing A 40mm | no | 1
SUB-TOTAL
| Ha Mapote | Pipelaying 25 mm HDPE 12 | m | 30
|  | Excavation trench (Soil)60/40cm | m | 30
|  | Backfilling trench(soil) 60/40cm | m | 30
SUB-TOTAL
| Mosenekeng | Spring Catchment | no | 1
|  | Additional excavation | no | 5
|  | Pipelaying 65mm GI | m | 12
|  | Pipelaying 32mm hdpe12 | m | 20
|  | Excavation trench (Soil) 60cm | m | 20
|  | Backfilling trench 60cm | m | 20
|  | Donga Crossing A 50mm | no | 1
SUB-TOTAL
| Whitehill | Donga Crossing 65mm | no | 1
|  | 50mm GI Pipelaying | m | 70
|  | 40mm HDPE 12 Pipelaying | m | 105
|  | Valve Chamber 60x95cm | no | 1
|  | 750lt Siltbox | no | 1
|  | Excavation trench (Soil) 60 cm | m | 175
|  | Backfilling trench 60 cm | m | 175
|  | Supply and Install 0.7m high Steel Sand for 5000l plastic tank | no | 1
|  | Supply and Install fittings for the tank | no | 1
|  | Washout with Plug 32mm | no | 1
|  | Air-release with plug 32mm | no | 1
|  | Additional excavation | m3 | 20
|  | Gabion work 2x1x1m3 | no | 2
|  | Gabion work 2x1x0.5m3 | no | 2
|  | Donga Crossing 80mm | no | 1
SUB-TOTAL
| Ha Phatela | Replaster 25m3 Storage Tank | no | 1
SUB-TOTAL
| Ha Ramot'seoa | 32mm HDPE 12 Pipelaying | m | 75
|  | Excavation trench (Soil) 60 cm | m | 60
|  | Backfilling trench 60 cm | m | 60
|  | Scourchecks | no | 3
|  | Stone wall (40cm wide x 20 cm high) | m | 15
SUB-TOTAL
| Ha Sehloho (Matebeleng) | 25mm HDPE 12 Pipelaying | m | 55
|  | Excavation trench (Soil) 60 cm | m | 30
|  | Backfilling trench 60 cm | m | 30
|  | Stone wall (40cm wide x 20 cm high) | m | 25
|  | Gabion work 2x1x1m3 | no | 2
|  | Gabion work 2x1x0.5m3 | no | 1
|  | Donga Crossing A 40mm | no | 1
SUB-TOTAL
| Tsolo (Matebeleng) | Spring Catchment | no | 1
|  | 65mm GI Pipelaying | m | 8.9
|  | Additional excavation | m3 | 20
|  | Excavation trench (Soil) 60 cm | m | 8.9
|  | Backfilling trench 60 cm | m | 8.9
SUB-TOTAL
| Tsatsa-le-meno | Spring Catchment | no | 1
|  | Additional excavation | no | 5
|  | Pipelaying GI 50mm | m | 9.5
|  | Pipelaying HDPE 25mm | m | 150
|  | Excavation trench (Soil) 60 cm | m | 110
|  | Backfilling trench 60 cm | m | 110
|  | Scourchecks | no | 5
|  | Stone wall (40cm wide x 20 cm high) | m | 50
|  | Gabion work | no | 2
|  | Donga Crossing A 40mm | no | 1
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | TOTAL Contract Amount |  |  |  | 0

## TT_Lot 11
THABA TSEKA
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Tenesolo | Lihloaeleng | 25mm HDPE12 pipelaying | m | 1000
|  | Excavation trench (Soil) 60 cm | m | 1000
|  | Backfilling trench 60 cm | m | 1000
|  | Donga crossings 50mm | no | 2
|  | Pipe sleeves | m | 56
|  | Stonewall | m | 625
SUB-TOTAL
| Ha Letuka | 25mm HDPE12 pipelaying | m | 1500
|  | Excavation trench (Soil) 60 cm | m | 1500
|  | Backfilling trench 60 cm | m | 1500
|  | Donga crossings 50mm | no | 4
|  | Pipe sleeves | m | 24
|  | Stonewall | m | 500
|  | Siltbox 300 l | l | 2
SUB-TOTAL
Linakeng | Linakeng | 25mm HDPE12 pipelaying | m | 950
|  | Excavation trench (Soil) 60 cm | m | 950
|  | Backfilling trench 60 cm | m | 950
|  | Washouts | no | 3
|  | Stonewall | m | 500
SUB-TOTAL
| Kolebere | Storage tank | 10m3 | 2
|  | Excavation trench (Soil) 60 cm | m | 2000
|  | Backfilling trench 60 cm | m | 2000
|  | Backfilling trench 40 cm | m | 1460
|  | Stone wall | m | 540
|  | Siltbox 300 l | 300l | 4
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | TOTAL Contract Amount |  |  |  | 0

## TT_Lot 12
THABA TSEKA
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Litsoetse | Sehaula | Spring | no | 2
|  | 25mm HDPE12 pipelaying | m | 3000
|  | Excavation trench (Soil) 60 cm | m | 2400
|  | Backfilling trench 60 cm | m | 854
|  | Stonewall | m | 400
SUB-TOTAL
Khutlo-Semetsi | Ha Kokoana | 25mm HDPE12 pipelaying | m | 1150
|  | Excavation trench (Soil) 60 cm | m | 1150
|  | Backfilling trench 60 cm | m | 1150
|  | Donga crossings 50mm | no | 3
SUB-TOTAL
| Ha Lali | Leaking siltbox 300 l | no | 2
|  | 25mm HDPE12 pipelaying | m | 1000
|  | Excavation trench (Soil) 60 cm | m | 1000
|  | Backfilling trench 60 cm | m | 1000
SUB-TOTAL
| Ha Peterose | 25mm HDPE12 pipelaying | m | 2000
|  | Excavation trench (Soil) 60 cm | m | 2000
|  | Backfilling trench 60 cm | m | 2000
SUB-TOTAL
| Makhaloane | 25mm HDPE12 pipelaying | m | 1800
|  | Excavation trench (Soil) 60 cm | m | 1800
|  | Backfilling trench 60 cm | m | 1800
|  | Donga crossings 50mm | no | 3
SUB-TOTAL
| Ha Mahao | Leaking siltbox 300 l | no | 2
|  | 25mm HDPE12 pipelaying | m | 1100
|  | Excavation trench (Soil) 60 cm | m | 1100
|  | Backfilling trench 60 cm | m | 1100
SUB-TOTAL
| Ha Motsoanakaba | 25mm HDPE12 pipelaying | m | 900
|  | Excavation trench (Soil) 60 cm | m | 900
|  | Backfilling trench 60 cm | m | 900
|  | Donga crossings 50mm | no | 2
SUB-TOTAL
| Motsiba | Leaking siltbox 300 l | no | 1
|  | 25mm HDPE12 pipelaying | m | 1150
|  | Excavation trench (Soil) 60 cm | m | 1150
|  | Backfilling trench 60 cm | m | 1150
SUB-TOTAL
| Tsekong | Leaking siltbox 300 l | no | 1
|  | 25mm HDPE12 pipelaying | m | 950
|  | Excavation trench (Soil) 60 cm | m | 950
|  | Backfilling trench 60 cm | m | 950
SUB-TOTAL
| Sututsa(Malebese) | 25mm HDPE12 pipelaying | m | 700
|  | Excavation trench (Soil) 60 cm | m | 700
|  | Backfilling trench 60 cm | m | 700
|  | Stonewall | m | 200
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | TOTAL Contract Amount |  |  |  | 0

## QT_Lot 13
QUTHING
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
| Ha Hlaela | Suspended River Grossing | no | 1
|  | Donga Crossing 50mm | no | 2
|  | Washout 32mm | no | 3
SUB-TOTAL
| Ha Mofokeng | Suspended River Grossing | no | 1
|  | Washout 32mm | no | 1
SUB-TOTAL
| Lebona(Potomane) | Spring Re-catchment | no | 2
|  | Pipelaying 50mm Gl | no | 42
|  | Re-plastering Sittbox 500L | no | 1
|  | Re-plastering Storage Tank 5m3 | no | 1
|  | Over excavation | m³ | 5
SUB-TOTAL
| Ha Machesetsa | Donga Grossing 50mm | no | 1
|  | Pipelaying 32mm Gl | m | 70
|  | Stonewall | m | 50
|  | Excavation trench (Soil) 60 cm | m | 20
|  | Backfilling trench 60 cm | m | 20
|  | Washout 32mm | no | 2
|  | Air-release 32mm | no | 1
SUB-TOTAL
| Mokanametsong | Donga Crossing 65mm | no | 2
|  | Donga Crossing 50mm | no | 2
SUB-TOTAL
| Ntozimande | Pipelaying 25mm GI (mainline) | m | 12
|  | Stonewall | m | 12
SUB-TOTAL
| Sequenxa | Suspended River Crossing | no | 1
|  | Washout 32mm | no | 1
SUB-TOTAL
| Lexeni | Pipesleeve 40mm Gl | m | 18
|  | Stonewall | m | 30
|  | Pipelaying 25mm HDPE | m | 30
SUB-TOTAL
| Ndungwana | Suspended River Grossing | no | 1
|  | Washout 32mm | no | 1
SUB-TOTAL
| Setakeng | Pipelaying 20mm GI | m | 50
|  | Stonewall | m | 50
|  | Pipesleeve 40mm | m | 18
SUB-TOTAL
| Nkomazabantu | Pipesleeve 40mm Gl | m | 40
|  | Pipelaying 20mm Gl | m | 40
SUB-TOTAL
| Matebeleng | Pipelaying 50mm Gl | m | 22
|  | Stonewall | m | 22
|  | Reinfoced Concrete Retaining wall (40cm x 150cm) formwork included | m | 30
SUB-TOTAL
| Sikubudu | Pipelaying Mainline 25mm GI | m | 42
|  | Stonewall | m | 42
| Motsapi | Spring Re-catchment | no | 2
SUB-TOTAL
| Mopeli | Tank/Tap 1000L | no | 1
|  | Pipelaying 50mm Gl | m | 12
|  | Excavation trench (Soil) 60 cm | m | 12
|  | Backfilling trench 60 cm | m | 12
SUB-TOTAL
| Mohapi | Spring Re-catchment | no | 1
SUB-TOTAL
| Rakhomo | Storage Tank 10m³ | no | 1
|  | Pipelaying 25mm HDPE | m | 1200
|  | Excavation trench (Soil) 60 cm | m | 720
|  | Backfilling trench 60 cm | m | 720
|  | Stonewall | m | 480
|  | Standpipe | no | 4
SUB-TOTAL
| Mohlakoana | Storage Tank 20m³ | no | 1
|  | Valve Chamber | no | 1
|  | Foat valve | no | 1
|  | Pipelaying 25mm HDPE | m | 75
|  | Excavation trench (Soil) 60 cm | m | 30
|  | Backfilling trench 60 cm | m | 30
|  | Stonewall | m | 45
SUB-TOTAL
| Mpharane | 2.5-2 Grundfos Pump | no | 1
|  | IO50 Control Box | no | 1
|  | Siedge Protector | no | 1
|  | Installation of new submerrsible pump(labour) | no | 1
|  | Transportation rate per Km return from district office to site | Km | 8
SUB-TOTAL
| Sello | 2.5-2 Grundfos Pump | no | 1
|  | IO50 Control Box | no | 1
|  | Siedge Protector | no | 1
|  | Installation of new submerrsible pump(labour) | no | 1
|  | Transportation rate per Km return from district office to site | Km | 8
SUB-TOTAL
| Lekhoele | 2.5-2 Grundfos Pump | no | 1
|  | IO50 Control Box | no | 1
|  | Siedge Protector | no | 1
|  | Installation of new submerrsible pump(labour) | no | 1
|  | Transportation rate per Km return from district office to site | Km | 8
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | Total Contract Amount |  |  |  | 0

## MH_Lot 14
MOHALE'S HOEK
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Lithipeng | Marakong | Washout with Plug 25mm | no | 1
|  | Air-release with plug 25mm | no | 1
|  | Pipelaying 25mm HDPE | m | 100
|  | Excavation trench (Soil) 40cm | m | 70
|  | Excavation trench (Soil) 20cm | m | 30
|  | Backfilling trench 40cm | m | 70
|  | Stone wall (40cm wide x 20 cm high) | m | 30
|  | Pipe sleeve 40mm | m | 12
|  | Donga Crossing 65mm | no | 2
SUB-TOTAL
| Ha Ramokhongoana | Washout with Plug 32mm | no | 2
|  | Air-release with plug 32mm | no | 2
|  | Pipelaying 32mm HDPE | m | 100
|  | Excavation trench (Soil) 40cm | m | 60
|  | Excavation trench (Soil) 20cm | m | 20
|  | Backfilling trench 40cm | m | 60
|  | Stone wall (40cm wide x 20 cm high) | m | 20
|  | Donga Crossing with Sling 50mm | no | 1
SUB-TOTAL
| Phuthing | Replastering Storage Tank 3m³ | no | 1
|  | Standpipe (with washout) | no | 2
|  | Globevalve for standpipe | no | 1
|  | Washout with Plug 25mm | no | 2
|  | Air-release with plug 25mm | no | 2
|  | Spring Catchment | no | 1
|  | Pipelaying 25mm HDPE | m | 800
|  | Excavation trench (Soil) 40cm | m | 600
|  | Excavation trench (Soil) 20cm | m | 200
|  | Backfilling trench 40cm | m | 600
|  | Scourchecks | no | 15
|  | Stone wall (40cm wide x 20 cm high) | m | 200
|  | Donga Crossing with Sling 50mm | no | 1
SUB-TOTAL
Khoelenya | Ha Makhaola | Storage Tank 2m³ | no | 1
|  | Valve Chamber (45x60) | no | 1
|  | Standpipe (with washout) | no | 1
|  | Globevalve for standpipe | no | 1
|  | Washout with Plug 25mm | no | 2
|  | Air-release with plug 25mm | no | 2
|  | Pipelaying 25mm HDPE | m | 900
|  | Excavation trench (Soil) 40cm | m | 700
|  | Excavation trench (Soil) 20cm | m | 200
|  | Backfilling trench 40cm | m | 700
|  | Scourchecks | no | 15
|  | Stone wall (40cm wide x 20 cm high) | m | 200
|  | Donga Crossing with Sling 50mm | no | 2
SUB-TOTAL
Qhoasing | Ha Kori | Washout with plug 25mm | no | 1
|  | Air-release with plug 25mm | no | 1
|  | Pipelaying 25mm HDPE | m | 300
|  | Excavation trench (Soil) 40cm | m | 200
|  | Excavation trench (Soil) 20cm | m | 100
|  | Backfilling trench 40cm | m | 200
|  | Stone wall (40cm wide x 20 cm high) | m | 100
|  | Pipe sleeve 40mm | m | 24
|  | Donga Crossing with Sling 50mm | no | 2
SUB-TOTAL
| Ha Sebili | Washout with plug 25mm | no | 2
|  | Air-release with plug 25mm | no | 2
|  | Pipelaying 25mm HDPE | m | 100
|  | Excavation trench (Soil) 40cm | m | 50
|  | Excavation trench (Soil) 20cm | m | 50
|  | Backfilling trench 40cm | m | 50
|  | Scourchecks | no | 5
|  | Stone wall (40cm wide x 20 cm high) | m | 50
|  | Pipe sleeve 40mm | m | 18
|  | Donga Crossing with Sling 50mm | no | 2
SUB-TOTAL
| Ha Makhofola | Valve Chamber (45x60) | no | 1
|  | Standpipe (with washout) | no | 2
|  | Globevalve for standpipe | no | 2
|  | Pipelaying 50mm GI | m | 9
|  | Pipelaying 25mm HDPE | m | 470
|  | Excavation trench (Soil) 40cm | m | 380
|  | Excavation trench (Soil) 20cm | m | 100
|  | Backfilling trench 40cm | m | 380
|  | Stone wall (40cm wide x 20 cm high) | m | 106
|  | Gabion work (2x1x.5) | no | 12
SUB-TOTAL
Mashaleng | Morumots'o | Siltbox 300l | no | 1
|  | Siltbox 500l | no | 1
|  | Storage Tank 2mᶟ | no | 1
|  | Storage Tank Replaster 30mᶟ | no | 1
|  | Standpipe (with washout) | no | 1
|  | Globevalve for standpipe | no | 1
|  | Washout with plug 32mm | no | 8
|  | Air-release with plug 32mm | no | 8
|  | Spring Catchment | no | 2
|  | Pipelaying 50mm GI | m | 24
|  | Pipelaying 32mm HDPE | m | 1900
|  | Pipelaying 25mm HDPE | m | 300
|  | Excavation trench (Soil) 60cm | m | 1600
|  | Excavation trench (Soil) 20cm | m | 600
|  | Backfilling trench 60cm | m | 1600
|  | Scourchecks | no | 30
|  | Stone wall (40cm wide x 20 cm high) | m | 624
|  | Pipe sleeve 50mm | m | 30
|  | Donga Crossing 50mm | no | 5
|  | Supply & Install Float Valve 40mm | no | 4
SUB-TOTAL
Khoelenya | Meriting | Siltbox 500l | no | 1
|  | Siltbox 1000l | no | 1
|  | Washout with plug 32mm | no | 1
|  | Air-release with plug 32mm | no | 1
|  | Spring Catchment with Manhole | no | 2
|  | Pipelaying 63mm HDPE | m | 50
|  | Pipelaying 32mm HDPE | m | 100
|  | Excavation trench (Soil) 60cm | m | 100
|  | Excavation trench (Soil) 20cm | m | 50
|  | Backfilling trench 60cm | m | 100
|  | Scourchecks | no | 5
|  | Stone wall (40cm wide x 20 cm high) | m | 50
|  | Donga Crossing 50mm | m | 1
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contingency @ 10% |  |  |  | 0
|  | VAT @ 15% |  |  |  | 0
|  | GRAND TOTAL |  |  |  | 0

## MH_Lot 15
MOHALE'S HOEK
COUNCIL NAME | VILLAGE NAME | DESCRIPTION | UNIT | QTY | UNIT RATE | TOTAL
Thaba Mokhele | Liphokoaneng | Washout with Plug 32mm | no | 2
|  | Air-release with plug 32mm | no | 2
|  | Pipelaying 32mm HDPE | m | 100
|  | Excavation trench (Soil) 20cm | m | 75
|  | Stone wall (40cm wide x 20 cm high) | m | 75
|  | Donga Crossing with Sling 50mm | no | 1
SUB-TOTAL
| Ha Qoane (Mpharane) | Washout with Plug | no | 2
|  | Air-release with plug | no | 1
|  | Pipelaying | m | 200
|  | Excavation trench 60 cm (Soil) | m | 150
|  | Backfilling trench 60 cm (Soil) | m | 50
|  | Backfilling trench 40 cm (Soil) | m | 150
|  | Scourchecks | no | 30
|  | Stone wall (40cm wide x 20 cm high) | m | 50
|  | Pipe sleeve | m | 12
SUB-TOTAL
| Ha Mothebesoane | Pipelaying 25mm HDPE | m | 1000
|  | Excavation trench (Soil) 60cm | m | 100
|  | Excavation trench (Soil) 40cm | m | 700
|  | Excavation trench (Soil) 20cm | m | 300
|  | Backfilling trench 60cm | m | 100
|  | Backfilling trench 40cm | m | 700
|  | Scourchecks | no | 15
|  | Stone wall (40cm wide x 20 cm high) | m | 300
|  | Pipe sleeve 40mm | m | 36
|  | Gabion work (2x1x.5) | no | 8
|  | Donga Crossing 65mm | no | 3
SUB-TOTAL
| Ha Kaphe | Valve Chamber (45x60) | no | 1
|  | Air-release with plug 25mm | no | 1
|  | Air-release with plug 25mm | no | 1
|  | Pipelaying 25mm HDPE | m | 500
|  | Backfilling trench 60cm | m | 300
|  | Backfilling trench 20cm | m | 200
|  | Backfilling trench 60cm | m | 300
|  | Scourchecks | no | 5
|  | Stone wall (40cm wide x 20 cm high) | m | 200
|  | Pipe sleeve 40mm | m | 36
SUB-TOTAL
| Ha Moseneke | Washout with Plug 40mm | no | 3
|  | Air-release with plug 40mm | no | 3
|  | Pipelaying 40mm HDPE | m | 1000
|  | Excavation trench (Soil) 60cm | m | 800
|  | Excavation trench (Soil) 40cm | m | 200
|  | Backfilling trench 60cm (Soil) | m | 800
|  | Stone wall (40cm wide x 20 cm high) | m | 200
|  | Pipe sleeve 65mm | m | 24
|  | River Crossing with Sling 65mm | no | 2
SUB-TOTAL
| Ha Mafethe | Washout with Plug 32mm | no | 1
|  | Air-release with plug 32mm | no | 1
|  | Washout with plug 25mm | no | 1
|  | Air-release with plug 25mm | no | 1
|  | Pipelaying 32mm HDPE | m | 100
|  | Pipelaying 25mm HDPE | m | 100
|  | Excavation trench (Soil) 40cm | m | 150
|  | Excavation trench (Soil) 20cm | m | 50
|  | Backfilling trench 40cm | m | 150
|  | Scourchecks | no | 15
|  | Stone wall (40cm wide x 20 cm high) | m | 50
|  | Pipe sleeve 40mm | m | 24
|  | Donga Crossing with Sling 50mm | no | 1
SUB-TOTAL
| Ha-Rantso'eu | Globevalve for standpipe | no | 3
|  | Washout with Plug 32mm | no | 3
|  | Air-release with plug 32mm | no | 3
|  | Spring Catchment | no | 1
|  | Pipelaying 32mm HDPE | m | 6
|  | Pipelaying 25mm HDPE | m | 2300
|  | Excavation trench 60 cm (Soil) | m | 800
|  | Excavation trench 60 cm (Soil) | m | 1000
|  | Backfilling trench 60 cm (Soil) | m | 506
|  | Backfilling trench 40 cm (Soil) | m | 800
|  | Backfilling trench | m | 1000
|  | Scourchecks | no | 30
|  | Stone wall (40cm wide x 20 cm high) | m | 506
|  | Pipe sleeve 50mm | m | 24
|  | Donga Crossing with Sling 65mm | no | 1
SUB-TOTAL
| Ha Sekei | Siltbox 300l | no | 1
|  | Storage Tank Replaster 2mᶟ | no | 1
|  | Washout with Plug 32mm | no | 2
|  | Air-release with plug 32mm | no | 3
|  | Spring Catchment | no | 1
|  | Pipelaying 50mm GI | m | 6
|  | Pipelaying 32mm HDPE | m | 800
|  | Excavation trench (Soil) 40cm | m | 650
|  | Excavation trench (Soil) 20cm | m | 180
|  | Backfilling trench 40mm | m | 650
|  | Scourchecks | no | 10
|  | Stone wall (40cm wide x 20 cm high) | m | 180
|  | Pipe sleeve 40mm | m | 18
|  | Donga Crossing 50mm | no | 1
SUB-TOTAL
Thaba Mokhele | Ha Rantsie | Washout with Plug 32mm | no | 1
|  | Air-release with plug 32mm | no | 1
|  | Pipelaying 25mm HDPE | m | 200
|  | Excavation trench 60 cm (Soil) | m | 150
|  | Backfilling trench 60 cm (Soil) | m | 50
|  | Backfilling trench 40 cm (Soil) | m | 150
|  | Scourchecks | no | 30
|  | Stone wall (40cm wide x 20 cm high) | m | 50
|  | Pipe sleeve 40mm | m | 24
|  | Donga Crossing with Sling 50mm | no | 1
SUB-TOTAL
|  | Total |  |  |  | 0
|  | Contengency @ 10% |  |  |  | 0
|  | Vat @ 15% |  |  |  | 0
|  | TOTAL Contract Amount |  |  |  | 0